## Data Set
Name | Frequency | free space loss | Field Strength Max of RVC measurement of background noise | Field Strength Max of RVC measurement of PPT Petrus 1J sample | Field Strength Max (corrected by free space loss) of RVC measurement of noise | Field Strength Max (corrected by free space loss) of RVC measurement of sample | RVC emission minus RVC noise with SNR>110% | Frequency | Field Strength Max of SAC measurement of background noise | Field Strength Max of SAC measurement of PPT Petrus 1J sample | SAC emission minus SAC noise | SAC emission minus SAC noise with SNR>110%
Unit | MHz | dB | dBμV/m | dBμV/m | dBμV/m | dBμV/m | dBμV/m | MHz | dBμV/m | dBμV/m | dBμV/m | dBμV/m
Comment |  | for 0.5m distance |  |  | RVC noise | RVC emission | RVC emission - noise |  |  |  | SAC emission - noise | SAC emission - noise (good SNR)
File name in EMC32 measurement software |  | [calculation] | 2022-02-21 16-50 RC -20dB Leermessung | 2022-02-21 14-50 RC -20dB e-field | [calculation] | [calculation] | [calculation] |  | 2022-02-24 13-33 SAC -20dB 45grad V AP2 Leermessung | 2022-02-24 13-52 SAC -20dB 45grad V AP2 TW1 2Hz 20Z Extraktion | [calculation] | [calculation]
Values | 300 | 15.9696 | 72.2 | 93.1 | 56.2304 | 77.1304 | 76.3097 | 30 | 46.7 | 62.9 | 61.4384 | 61.4384
| 303 | 16.056 | 71.3 | 94.1 | 55.244 | 78.044 | 77.3908 | 30.3 | 46.7 | 64.9 | 63.7597 | 63.7597
| 306.03 | 16.1425 | 70.3 | 96.9 | 54.1575 | 80.7575 | 80.3415 | 30.603 | 47.1 | 71.7 | 71.1729 | 71.1729
| 309.0903 | 16.2289 | 68 | 92.5 | 51.7711 | 76.2711 | 75.7377 | 30.909 | 46.4 | 66.2 | 65.2623 | 65.2623
| 312.1812 | 16.3153 | 66.9 | 100.5 | 50.5847 | 84.1847 | 84.0013 | 31.2181 | 46 | 68.8 | 68.1468 | 68.1468
| 315.303 | 16.4017 | 59.8 | 90.5 | 43.3983 | 74.0983 | 73.8411 | 31.5303 | 46.2 | 67.7 | 66.9366 | 66.9366
| 318.456 | 16.4882 | 61.2 | 88.6 | 44.7118 | 72.1118 | 71.7332 | 31.8456 | 46.2 | 72.2 | 71.7534 | 71.7534
| 321.6406 | 16.5746 | 55.4 | 88.9 | 38.8254 | 72.3254 | 72.1399 | 32.1641 | 45.7 | 70.4 | 69.8791 | 69.8791
| 324.857 | 16.661 | 58.7 | 85.5 | 42.039 | 68.839 | 68.4326 | 32.4857 | 46.1 | 72.6 | 72.179 | 72.179
| 328.1056 | 16.7475 | 54.1 | 85.6 | 37.3525 | 68.8525 | 68.6183 | 32.8106 | 45.9 | 70.7 | 70.1852 | 70.1852
| 331.3866 | 16.8339 | 59.1 | 88.3 | 42.2661 | 71.4661 | 71.1596 | 33.1387 | 46.3 | 75.9 | 75.6075 | 75.6075
| 334.7005 | 16.9203 | 56.2 | 80.9 | 39.2797 | 63.9797 | 63.4588 | 33.4701 | 45.9 | 67.2 | 66.418 | 66.418
| 338.0475 | 17.0067 | 62.2 | 89.7 | 45.1933 | 72.6933 | 72.319 | 33.8048 | 45.8 | 68.7 | 68.0546 | 68.0546
| 341.428 | 17.0932 | 65.7 | 90.7 | 48.6068 | 73.6068 | 73.1041 | 34.1428 | 45.4 | 69.6 | 69.0472 | 69.0472
| 344.8423 | 17.1796 | 64.5 | 89.6 | 47.3204 | 72.4204 | 71.9236 | 34.4842 | 45.5 | 73.5 | 73.1471 | 73.1471
| 348.2907 | 17.266 | 59.3 | 89.4 | 42.034 | 72.134 | 71.8581 | 34.8291 | 46 | 78.7 | 78.4963 | 78.4963
| 351.7736 | 17.3524 | 56.5 | 95.1 | 39.1476 | 77.7476 | 77.6449 | 35.1774 | 45.4 | 69.3 | 68.7271 | 68.7271
| 355.2913 | 17.4389 | 54.6 | 87.1 | 37.1611 | 69.6611 | 69.4527 | 35.5291 | 46.3 | 75.3 | 74.9862 | 74.9862
| 358.8442 | 17.5253 | 56.7 | 81.1 | 39.1747 | 63.5747 | 63.0349 | 35.8844 | 46.4 | 76.8 | 76.5336 | 76.5336
| 362.4327 | 17.6117 | 55.2 | 81.3 | 37.5883 | 63.6883 | 63.2469 | 36.2433 | 46.1 | 69.6 | 68.9992 | 68.9992
| 366.057 | 17.6982 | 56.5 | 82.6 | 38.8018 | 64.9018 | 64.4605 | 36.6057 | 46.4 | 70.1 | 69.5133 | 69.5133
| 369.7176 | 17.7846 | 57.2 | 77.8 | 39.4154 | 60.0154 | 59.1644 | 36.9718 | 45.8 | 68.5 | 67.8389 | 67.8389
| 373.4148 | 17.871 | 49.2 | 73.7 | 31.329 | 55.829 | 55.2956 | 37.3415 | 46.5 | 72.3 | 71.8427 | 71.8427
| 377.1489 | 17.9574 | 57.9 | 80.3 | 39.9426 | 62.3426 | 61.6573 | 37.7149 | 46.3 | 71.5 | 71.0091 | 71.0091
| 380.9204 | 18.0439 | 56.1 | 83.8 | 38.0561 | 65.7561 | 65.3906 | 38.092 | 46.4 | 63.9 | 62.6569 | 62.6569
| 384.7296 | 18.1303 | 61.2 | 78.2 | 43.0697 | 60.0697 | 58.747 | 38.473 | 47.3 | 70.5 | 69.8773 | 69.8773
| 388.5769 | 18.2167 | 61.8 | 92.3 | 43.5833 | 74.0833 | 73.82 | 38.8577 | 46.8 | 61.7 | 59.9775 | 59.9775
| 392.4627 | 18.3032 | 55.7 | 77.6 | 37.3968 | 59.2968 | 58.5693 | 39.2463 | 47.5 | 67.9 | 67.0282 | 67.0282
| 396.3873 | 18.3896 | 65.3 | 85.4 | 46.9104 | 67.0104 | 66.1063 | 39.6387 | 46.3 | 65.4 | 64.3788 | 64.3788
| 400.3512 | 18.476 | 52.2 | 70.9 | 33.724 | 52.424 | 51.3516 | 40.0351 | 46.7 | 71.7 | 71.1973 | 71.1973
| 404.3547 | 18.5624 | 53.6 | 76.8 | 35.0376 | 58.2376 | 57.6149 | 40.4355 | 46.9 | 62.3 | 60.6834 | 60.6834
| 408.3982 | 18.6489 | 52.9 | 75.6 | 34.2511 | 56.9511 | 56.2901 | 40.8398 | 47.2 | 72 | 71.4852 | 71.4852
| 412.4822 | 18.7353 | 48.8 | 74.1 | 30.0647 | 55.3647 | 54.8796 | 41.2482 | 47.9 | 66.1 | 64.9597 | 64.9597
| 416.607 | 18.8217 | 47.7 | 72 | 28.8783 | 53.1783 | 52.632 | 41.6607 | 47.3 | 63.9 | 62.5097 | 62.5097
| 420.7731 | 18.9081 | 52.5 | 67.5 | 33.5919 | 48.5919 | 46.8911 | 42.0773 | 48.2 | 72.3 | 71.7406 | 71.7406
| 424.9808 | 18.9946 | 50.8 | 73.4 | 31.8054 | 54.4054 | 53.7364 | 42.4981 | 47 | 67.6 | 66.749 | 66.749
| 429.2306 | 19.081 | 47.5 | 71.7 | 28.419 | 52.619 | 52.0662 | 42.9231 | 47.1 | 73.5 | 73.074 | 73.074
| 433.5229 | 19.1674 | 46.8 | 71.5 | 27.6326 | 52.3326 | 51.8117 | 43.3523 | 47.2 | 64.5 | 63.2257 | 63.2257
| 437.8582 | 19.2539 | 52.7 | 75.8 | 33.4461 | 56.5461 | 55.916 | 43.7858 | 47.4 | 71.8 | 71.2602 | 71.2602
| 442.2368 | 19.3403 | 52.6 | 75.1 | 33.2597 | 55.7597 | 55.0827 | 44.2237 | 47.9 | 71.7 | 71.1203 | 71.1203
| 446.6591 | 19.4267 | 52.4 | 65.4 | 32.9733 | 45.9733 | 43.772 | 44.6659 | 47.6 | 63.8 | 62.3384 | 62.3384
| 451.1257 | 19.5131 | 49.6 | 79.2 | 30.0869 | 59.6869 | 59.3944 | 45.1126 | 48.1 | 58.8 | 55.8038 | 55.8038
| 455.637 | 19.5996 | 38.9 | 62.2 | 19.3004 | 42.6004 | 41.9851 | 45.5637 | 47.4 | 62.3 | 60.5775 | 60.5775
| 460.1933 | 19.686 | 45.1 | 72.2 | 25.414 | 52.514 | 52.1217 | 46.0193 | 47.8 | 63.7 | 62.1822 | 62.1822
| 464.7953 | 19.7724 | 42.7 | 68.4 | 22.9276 | 48.6276 | 48.1648 | 46.4795 | 47.8 | 64.3 | 62.8922 | 62.8922
| 469.4432 | 19.8588 | 46.2 | 71.2 | 26.3412 | 51.3412 | 50.8384 | 46.9443 | 47.8 | 54.3 | 48.7337 | 48.7337
| 474.1377 | 19.9453 | 41.8 | 65.6 | 21.8547 | 45.6547 | 45.075 | 47.4138 | 47.2 | 48.3 | 29.8074 | 29.8074
| 478.879 | 20.0317 | 40.9 | 66 | 20.8683 | 45.9683 | 45.4715 | 47.8879 | 48.6 | 68.8 | 67.9068 | 67.9068
| 483.6678 | 20.1181 | 41.2 | 67.8 | 21.0819 | 47.6819 | 47.2658 | 48.3668 | 48.4 | 67.9 | 66.9275 | 66.9275
| 488.5045 | 20.2046 | 43.5 | 67.7 | 23.2954 | 47.4954 | 46.9427 | 48.8505 | 47.5 | 71.5 | 70.9339 | 70.9339
| 493.3895 | 20.291 | 40.7 | 68.9 | 20.409 | 48.609 | 48.2643 | 49.339 | 47.5 | 62.6 | 60.9207 | 60.9207
| 498.3234 | 20.3774 | 34.4 | 64.7 | 14.0226 | 44.3226 | 44.0531 | 49.8323 | 47 | 65.6 | 64.5144 | 64.5144
| 503.3067 | 20.4638 | 36.8 | 59.7 | 16.3362 | 39.2362 | 38.5907 | 50.3307 | 47.6 | 65.6 | 64.4313 | 64.4313
| 508.3397 | 20.5503 | 38.7 | 63.9 | 18.1497 | 43.3497 | 42.8588 | 50.834 | 47.7 | 71.2 | 70.5992 | 70.5992
| 513.4231 | 20.6367 | 38.9 | 56.3 | 18.2633 | 35.6633 | 34.4047 | 51.3423 | 47.5 | 67 | 66.0275 | 66.0275
| 518.5574 | 20.7231 | 36.6 | 55.9 | 15.8769 | 35.1769 | 34.1804 | 51.8557 | 47.9 | 72.9 | 72.3973 | 72.3973
| 523.7429 | 20.8095 | 41.9 | 62 | 21.0905 | 41.1905 | 40.2863 | 52.3743 | 47 | 73.3 | 72.8689 | 72.8689
| 528.9804 | 20.896 | 34.8 | 52 | 13.904 | 31.104 | 29.8138 | 52.898 | 47.1 | 73.5 | 73.074 | 73.074
| 534.2702 | 20.9824 | 35.4 | 54 | 14.4176 | 33.0176 | 31.932 | 53.427 | 47.4 | 69.6 | 68.8982 | 68.8982
| 539.6129 | 21.0688 | 37.5 | 59 | 16.4312 | 37.9312 | 37.1678 | 53.9613 | 48 | 65.4 | 64.1414 | 64.1414
| 545.009 | 21.1553 | 36.7 | 52.7 | 15.5447 | 31.5447 | 30.0459 | 54.5009 | 47.5 | 70.1 | 69.431 | 69.431
| 550.4591 | 21.2417 | 35.4 | 54.5 | 14.1583 | 33.2583 | 32.2372 | 55.0459 | 47.4 | 67.7 | 66.8176 | 66.8176
| 555.9637 | 21.3281 | 33.8 | 58.4 | 12.4719 | 37.0719 | 36.5447 | 55.5964 | 47 | 66.9 | 65.9737 | 65.9737
| 561.5233 | 21.4145 | 36.1 | 62.5 | 14.6855 | 41.0855 | 40.6594 | 56.1523 | 46.8 | 76.9 | 76.6241 | 76.6241
| 567.1386 | 21.501 | 34.3 | 62.6 | 12.799 | 41.099 | 40.7584 | 56.7139 | 46.7 | 68.7 | 67.9811 | 67.9811
| 572.8099 | 21.5874 | 31.5 | 56.5 | 9.9126 | 34.9126 | 34.4099 | 57.281 | 46.6 | 62.6 | 61.1012 | 61.1012
| 578.538 | 21.6738 | 33.5 | 63.2 | 11.8262 | 41.5262 | 41.2371 | 57.8538 | 46.7 | 73 | 72.5689 | 72.5689
| 584.3234 | 21.7602 | 32.4 | 63.4 | 10.6398 | 41.6398 | 41.3914 | 58.4323 | 47.3 | 65 | 63.7872 | 63.7872
| 590.1667 | 21.8467 | 32.2 | 64.2 | 10.3533 | 42.3533 | 42.1324 | 59.0167 | 46.3 | 70.5 | 69.9472 | 69.9472
| 596.0683 | 21.9331 | 30.7 | 57.2 | 8.7669 | 35.2669 | 34.8459 | 59.6068 | 45.7 | 74.1 | 73.7633 | 73.7633
| 602.029 | 22.0195 | 33.9 | 56.1 | 11.8805 | 34.0805 | 33.3786 | 60.2029 | 46.2 | 75.5 | 75.1971 | 75.1971
| 608.0493 | 22.106 | 34.2 | 64.6 | 12.094 | 42.494 | 42.2277 | 60.8049 | 45.8 | 74.2 | 73.8633 | 73.8633
| 614.1298 | 22.1924 | 33.6 | 60.3 | 11.4076 | 38.1076 | 37.6964 | 61.413 | 45.5 | 66.7 | 65.9085 | 65.9085
| 620.2711 | 22.2788 | 32.7 | 56.9 | 10.4212 | 34.6212 | 34.0684 | 62.0271 | 45.3 | 57.8 | 55.4489 | 55.4489
| 626.4738 | 22.3652 | 30.1 | 59.7 | 7.7348 | 37.3348 | 37.0423 | 62.6474 | 44.9 | 56.8 | 54.2536 | 54.2536
| 632.7385 | 22.4517 | 32.7 | 58.3 | 10.2483 | 35.8483 | 35.3801 | 63.2739 | 45.1 | 73.8 | 73.475 | 73.475
| 639.0659 | 22.5381 | 27.6 | 56.8 | 5.0619 | 34.2619 | 33.9554 | 63.9066 | 45.7 | 76.2 | 75.9367 | 75.9367
| 645.4566 | 22.6245 | 30.6 | 62.3 | 7.9755 | 39.6755 | 39.4466 | 64.5457 | 44.6 | 69.7 | 69.2032 | 69.2032
| 651.9112 | 22.711 | 28.8 | 50.4 | 6.089 | 27.689 | 26.9348 | 65.1911 | 44 | 73.8 | 73.5143 | 73.5143
| 658.4303 | 22.7974 | 31.3 | 64.7 | 8.5026 | 41.9026 | 41.7149 | 65.843 | 44.6 | 44.7 | 5.8738
| 665.0146 | 22.8838 | 31 | 61.2 | 8.1162 | 38.3162 | 38.0435 | 66.5015 | 44.2 | 72.2 | 71.8471 | 71.8471
| 671.6647 | 22.9702 | 33.2 | 58.5 | 10.2298 | 35.5298 | 35.0446 | 67.1665 | 43.8 | 73.4 | 73.1075 | 73.1075
| 678.3814 | 23.0567 | 32.9 | 60.3 | 9.8433 | 37.2433 | 36.8647 | 67.8381 | 43.1 | 81.7 | 81.5973 | 81.5973
| 685.1652 | 23.1431 | 33.9 | 60.4 | 10.7569 | 37.2569 | 36.8359 | 68.5165 | 42.7 | 78.2 | 78.0529 | 78.0529
| 692.0168 | 23.2295 | 30.1 | 54.6 | 6.8705 | 31.3705 | 30.837 | 69.2017 | 42.2 | 79.6 | 79.482 | 79.482
| 698.937 | 23.3159 | 28.2 | 52.4 | 4.8841 | 29.0841 | 28.5313 | 69.8937 | 42.4 | 82 | 81.9086 | 81.9086
| 705.9264 | 23.4024 | 28.4 | 59 | 4.9976 | 35.5976 | 35.3374 | 70.5926 | 43.3 | 78.5 | 78.3477 | 78.3477
| 712.9856 | 23.4888 | 28.8 | 50.5 | 5.3112 | 27.0112 | 26.2659 | 71.2986 | 42.6 | 82.3 | 82.2096 | 82.2096
| 720.1155 | 23.5752 | 32.5 | 53.9 | 8.9248 | 30.3248 | 29.5521 | 72.0115 | 41.5 | 84.4 | 84.3376 | 84.3376
| 727.3166 | 23.6617 | 33.7 | 59.7 | 10.0383 | 36.0383 | 35.5917 | 72.7317 | 41.1 | 79.4 | 79.2937 | 79.2937
| 734.5898 | 23.7481 | 30.7 | 59.6 | 6.9519 | 35.8519 | 35.5344 | 73.459 | 41.4 | 82.9 | 82.8266 | 82.8266
| 741.9357 | 23.8345 | 30.6 | 62.5 | 6.7655 | 38.6655 | 38.4419 | 74.1936 | 40.7 | 74.3 | 74.1166 | 74.1166
| 749.3551 | 23.9209 | 32.7 | 62.4 | 8.7791 | 38.4791 | 38.19 | 74.9355 | 41.3 | 75.1 | 74.9208 | 74.9208
| 756.8486 | 24.0074 | 31.3 | 53.6 | 7.2926 | 29.5926 | 28.8992 | 75.6849 | 40.8 | 78.6 | 78.4874 | 78.4874
| 764.4171 | 24.0938 | 29.8 | 63.9 | 5.7062 | 39.8062 | 39.6332 | 76.4417 | 40.7 | 81 | 80.9157 | 80.9157
| 772.0613 | 24.1802 | 33 | 59.2 | 8.8198 | 35.0198 | 34.5836 | 77.2061 | 41.1 | 66.1 | 65.5973 | 65.5973
| 779.7819 | 24.2666 | 30.6 | 49.7 | 6.3334 | 25.4334 | 24.4122 | 77.9782 | 40 | 73.5 | 73.3145 | 73.3145
| 787.5797 | 24.3531 | 32.9 | 61.6 | 8.5469 | 37.2469 | 36.9219 | 78.758 | 40.7 | 77.3 | 77.1706 | 77.1706
| 795.4555 | 24.4395 | 34.3 | 66.2 | 9.8605 | 41.7605 | 41.5369 | 79.5455 | 40.7 | 58.5 | 57.3021 | 57.3021
| 803.41 | 24.5259 | 33.2 | 54.6 | 8.6741 | 30.0741 | 29.3014 | 80.341 | 40.2 | 77.2 | 77.0764 | 77.0764
| 811.4441 | 24.6124 | 33.4 | 63.2 | 8.7876 | 38.5876 | 38.3019 | 81.1444 | 40.6 | 68.1 | 67.7258 | 67.7258
| 819.5586 | 24.6988 | 33.9 | 61.6 | 9.2012 | 36.9012 | 36.5357 | 81.9559 | 41.1 | 59.9 | 58.8407 | 58.8407
| 827.7542 | 24.7852 | 32.6 | 59.6 | 7.8148 | 34.8148 | 34.4179 | 82.7754 | 41.1 | 65.2 | 64.6406 | 64.6406
| 836.0317 | 24.8716 | 65.5 | 68.6 | 40.6284 | 43.7284 | 33.2754 | 83.6032 | 40.9 | 71.9 | 71.6517 | 71.6517
| 844.392 | 24.9581 | 34.1 | 65.5 | 9.1419 | 40.5419 | 40.3049 | 84.4392 | 41.8 | 58 | 56.5384 | 56.5384
| 852.836 | 25.0445 | 36.4 | 58.1 | 11.3555 | 33.0555 | 32.3102 | 85.2836 | 41.2 | 69.6 | 69.2633 | 69.2633
| 861.3643 | 25.1309 | 33.1 | 56.8 | 7.9691 | 31.6691 | 31.0824 | 86.1364 | 41.9 | 64.7 | 64.0468 | 64.0468
| 869.978 | 25.2173 | 37.7 | 65.6 | 12.4827 | 40.3827 | 40.0256 | 86.9978 | 42.3 | 66.7 | 66.1602 | 66.1602
| 878.6777 | 25.3038 | 36.1 | 59.4 | 10.7962 | 34.0962 | 33.4809 | 87.8678 | 42.2 | 62.4 | 61.5068 | 61.5068
| 887.4645 | 25.3902 | 32.3 | 55.9 | 6.9098 | 30.5098 | 29.9161 | 88.7465 | 43 | 60.9 | 59.7168 | 59.7168
| 896.3392 | 25.4766 | 36.6 | 65.1 | 11.1234 | 39.6234 | 39.2906 | 89.6339 | 42.7 | 60.4 | 59.1872 | 59.1872
| 905.3026 | 25.5631 | 39.8 | 59.5 | 14.2369 | 33.9369 | 32.9878 | 90.5303 | 43.2 | 62.5 | 61.5035 | 61.5035
| 914.3556 | 25.6495 | 35.1 | 61.6 | 9.4505 | 35.9505 | 35.5295 | 91.4356 | 43.7 | 65.9 | 65.1982 | 65.1982
| 923.4991 | 25.7359 | 39.5 | 59.9 | 13.7641 | 34.1641 | 33.2923 | 92.3499 | 43.7 | 65.3 | 64.5457 | 64.5457
| 932.7341 | 25.8223 | 40.6 | 67.1 | 14.7777 | 41.2777 | 40.8566 | 93.2734 | 43.6 | 68.1 | 67.5666 | 67.5666
| 942.0615 | 25.9088 | 39.7 | 71.9 | 13.7912 | 45.9912 | 45.7754 | 94.2061 | 44 | 65.6 | 64.8457 | 64.8457
| 951.4821 | 25.9952 | 37.6 | 67 | 11.6048 | 41.0048 | 40.7054 | 95.1482 | 45.2 | 69.5 | 68.9537 | 68.9537
| 960.9969 | 26.0816 | 37.3 | 69 | 11.2184 | 42.9184 | 42.6895 | 96.0997 | 44.7 | 66.6 | 65.8724 | 65.8724
| 970.6069 | 26.1681 | 38.3 | 73.3 | 12.1319 | 47.1319 | 46.9761 | 97.0607 | 44.3 | 71.1 | 70.6936 | 70.6936
| 980.3129 | 26.2545 | 35.3 | 72.9 | 9.0455 | 46.6455 | 46.5303 | 98.0313 | 44.2 | 66.4 | 65.6982 | 65.6982
| 990.1161 | 26.3409 | 42.1 | 67.2 | 15.7591 | 40.8591 | 40.3623 | 99.0116 | 45.4 | 68.5 | 67.8698 | 67.8698
| 1000 | 26.4272 | 38.9 | 69.4 | 12.4728 | 42.9728 | 42.7096 | 100.0017 | 44.9 | 63.5 | 62.4144 | 62.4144
| 1000 | 26.4272 | 44.4 | 86.9 | 17.9728 | 60.4728 | 60.4074 | 101.0017 | 44.7 | 68.6 | 68.0271 | 68.0271
| 1010 | 26.5136 | 46.1 | 83.9 | 19.5864 | 57.3864 | 57.2738 | 102.0118 | 45 | 73.2 | 72.8553 | 72.8553
| 1020.1 | 26.6 | 43.2 | 77.6 | 16.6 | 51 | 50.8329 | 103.0319 | 44.6 | 68.8 | 68.2472 | 68.2472
| 1030.301 | 26.6865 | 43.6 | 83.7 | 16.9135 | 57.0135 | 56.9272 | 104.0622 | 45.6 | 75.2 | 74.9075 | 74.9075
| 1040.604 | 26.7729 | 44.7 | 87.9 | 17.9271 | 61.1271 | 61.0668 | 105.1028 | 44.3 | 75.1 | 74.8458 | 74.8458
| 1051.0101 | 26.8593 | 43.4 | 82.7 | 16.5407 | 55.8407 | 55.746 | 106.1538 | 44.4 | 74.4 | 74.1209 | 74.1209
| 1061.5202 | 26.9457 | 45 | 88.9 | 18.0543 | 61.9543 | 61.8986 | 107.2154 | 44.3 | 76.4 | 76.1816 | 76.1816
| 1072.1354 | 27.0322 | 45.6 | 86.4 | 18.5678 | 59.3678 | 59.2882 | 108.2875 | 44.4 | 75.6 | 75.3574 | 75.3574
| 1082.8567 | 27.1186 | 44 | 88.4 | 16.8814 | 61.2814 | 61.2289 | 109.3704 | 44 | 75.8 | 75.5738 | 75.5738
| 1093.6853 | 27.205 | 44.9 | 94.4 | 17.695 | 67.195 | 67.1658 | 110.4641 | 44.2 | 75 | 74.7458 | 74.7458
| 1104.6221 | 27.2915 | 45.1 | 99.6 | 17.8085 | 72.3085 | 72.2922 | 111.5688 | 44.1 | 65.9 | 65.1636 | 65.1636
| 1115.6683 | 27.3779 | 41.2 | 94.4 | 13.8221 | 67.0221 | 67.0031 | 112.6844 | 44.2 | 73.1 | 72.7825 | 72.7825
| 1126.825 | 27.4643 | 45.1 | 94.5 | 17.6357 | 67.0357 | 67.0062 | 113.8113 | 44.1 | 72 | 71.643 | 71.643
| 1138.0933 | 27.5507 | 41.2 | 83 | 13.6493 | 55.4493 | 55.3784 | 114.9494 | 43.9 | 70.9 | 70.5031 | 70.5031
| 1149.4742 | 27.6372 | 43.2 | 91.8 | 15.5628 | 64.1628 | 64.1305 | 116.0989 | 42.6 | 70.5 | 70.143 | 70.143
| 1160.969 | 27.7236 | 41.4 | 85.8 | 13.6764 | 58.0764 | 58.0239 | 117.2599 | 42.8 | 73.7 | 73.4488 | 73.4488
| 1172.5786 | 27.81 | 41.6 | 85.3 | 13.79 | 57.49 | 57.4331 | 118.4325 | 42.6 | 69 | 68.574 | 68.574
| 1184.3044 | 27.8965 | 42.5 | 81.4 | 14.6035 | 53.5035 | 53.4044 | 119.6168 | 41.9 | 72.3 | 72.0336 | 72.0336
| 1196.1475 | 27.9829 | 44.6 | 84.5 | 16.6171 | 56.5171 | 56.4288 | 120.813 | 41.6 | 71.3 | 71.0109 | 71.0109
| 1208.109 | 28.0693 | 42 | 78.9 | 13.9307 | 50.8307 | 50.7057 | 122.0211 | 42.6 | 70.4 | 70.0387 | 70.0387
| 1220.19 | 28.1557 | 42.6 | 89.6 | 14.4443 | 61.4443 | 61.4054 | 123.2413 | 41.9 | 69.8 | 69.443 | 69.443
| 1232.3919 | 28.2422 | 43.5 | 82.1 | 15.2578 | 53.8578 | 53.7552 | 124.4737 | 42.1 | 70.5 | 70.1633 | 70.1633
| 1244.7159 | 28.3286 | 45.8 | 91.1 | 17.4714 | 62.7714 | 62.7241 | 125.7185 | 41.4 | 71.9 | 71.6367 | 71.6367
| 1257.163 | 28.415 | 39.4 | 84.1 | 10.985 | 55.685 | 55.6343 | 126.9757 | 41.8 | 69.8 | 69.4471 | 69.4471
| 1269.7346 | 28.5014 | 41.9 | 81.5 | 13.3986 | 52.9986 | 52.9071 | 128.2454 | 41.1 | 65.6 | 65.0666 | 65.0666
| 1282.432 | 28.5879 | 41.2 | 81.2 | 12.6121 | 52.6121 | 52.5248 | 129.5279 | 42.4 | 66.6 | 66.0472 | 66.0472
| 1295.2563 | 28.6743 | 43 | 77.2 | 14.3257 | 48.5257 | 48.3547 | 130.8231 | 40.5 | 64.5 | 63.9339 | 63.9339
| 1308.2089 | 28.7607 | 44.1 | 85.2 | 15.3393 | 56.4393 | 56.3624 | 132.1314 | 41.3 | 67.7 | 67.274 | 67.274
| 1321.291 | 28.8472 | 41.5 | 84.1 | 12.6528 | 55.2528 | 55.1882 | 133.4527 | 41 | 65.4 | 64.8602 | 64.8602
| 1334.5039 | 28.9336 | 43.5 | 86.6 | 14.5664 | 57.6664 | 57.6054 | 134.7872 | 40.5 | 69.5 | 69.1862 | 69.1862
| 1347.8489 | 29.02 | 44.2 | 81.9 | 15.18 | 52.88 | 52.7661 | 136.1351 | 40.2 | 68.5 | 68.1594 | 68.1594
| 1361.3274 | 29.1064 | 42.4 | 85.4 | 13.2936 | 56.2936 | 56.2319 | 137.4964 | 41 | 70.3 | 69.9971 | 69.9971
| 1374.9407 | 29.1929 | 44.9 | 87.4 | 15.7071 | 58.2071 | 58.1418 | 138.8714 | 40.5 | 66.2 | 65.7373 | 65.7373
| 1388.6901 | 29.2793 | 40.5 | 86.7 | 11.2207 | 57.4207 | 57.3781 | 140.2601 | 40.9 | 69.3 | 68.9633 | 68.9633
| 1402.577 | 29.3657 | 41.4 | 83.9 | 12.0343 | 54.5343 | 54.4689 | 141.6627 | 41 | 54.6 | 52.5643 | 52.5643
| 1416.6028 | 29.4521 | 45 | 86.1 | 15.5479 | 56.6479 | 56.571 | 143.0793 | 41.2 | 71.4 | 71.1273 | 71.1273
| 1430.7688 | 29.5386 | 44.5 | 85.6 | 14.9614 | 56.0614 | 55.9846 | 144.5101 | 40.9 | 73.4 | 73.1915 | 73.1915
| 1445.0765 | 29.625 | 44.3 | 87.2 | 14.675 | 57.575 | 57.5126 | 145.9552 | 40.8 | 73.6 | 73.3987 | 73.3987
| 1459.5272 | 29.7114 | 43.3 | 77.9 | 13.5886 | 48.1886 | 48.0253 | 147.4148 | 41.2 | 70.1 | 69.7825 | 69.7825
| 1474.1225 | 29.7979 | 44.4 | 81 | 14.6021 | 51.2021 | 51.0727 | 148.8889 | 41.5 | 72.4 | 72.1488 | 72.1488
| 1488.8637 | 29.8843 | 43 | 89.7 | 13.1157 | 59.8157 | 59.7755 | 150.3778 | 40.9 | 70.9 | 70.6209 | 70.6209
| 1503.7524 | 29.9707 | 45.2 | 85.6 | 15.2293 | 55.6293 | 55.5459 | 151.8816 | 41 | 75.2 | 75.029 | 75.029
| 1518.7899 | 30.0571 | 45.4 | 99.1 | 15.3429 | 69.0429 | 69.0249 | 153.4004 | 41 | 74.3 | 74.1101 | 74.1101
| 1533.9778 | 30.1436 | 45 | 92.6 | 14.8564 | 62.4564 | 62.4202 | 154.9344 | 42.3 | 73.5 | 73.2574 | 73.2574
| 1549.3176 | 30.23 | 43 | 90.3 | 12.77 | 60.07 | 60.0324 | 156.4838 | 41.1 | 75.5 | 75.3329 | 75.3329
| 1564.8107 | 30.3164 | 42.6 | 89.8 | 12.2836 | 59.4836 | 59.4456 | 158.0486 | 42.3 | 76 | 75.8187 | 75.8187
| 1580.4589 | 30.4028 | 44.2 | 94.1 | 13.7972 | 63.6972 | 63.6693 | 159.6291 | 41.8 | 72.2 | 71.9336 | 71.9336
| 1596.2634 | 30.4893 | 43.1 | 96.8 | 12.6107 | 66.3107 | 66.2928 | 161.2254 | 41.4 | 76.1 | 75.9386 | 75.9386
| 1612.2261 | 30.5757 | 43.2 | 94.8 | 12.6243 | 64.2243 | 64.2014 | 162.8376 | 42.8 | 74 | 73.7574 | 73.7574
| 1628.3483 | 30.6621 | 43.7 | 82.2 | 13.0379 | 51.5379 | 51.434 | 164.466 | 40.6 | 78.8 | 78.6925 | 78.6925
| 1644.6318 | 30.7486 | 44.2 | 89 | 13.4514 | 58.2514 | 58.2013 | 166.1107 | 41.7 | 74.1 | 73.8891 | 73.8891
| 1661.0781 | 30.835 | 44 | 90.3 | 13.165 | 59.465 | 59.4229 | 167.7718 | 41.9 | 76.7 | 76.5405 | 76.5405
| 1677.6889 | 30.9214 | 44.3 | 94.7 | 13.3786 | 63.7786 | 63.7523 | 169.4495 | 41.7 | 74.1 | 73.8891 | 73.8891
| 1694.4658 | 31.0078 | 44.9 | 97.3 | 13.8922 | 66.2922 | 66.2713 | 171.144 | 41.4 | 73.1 | 72.8712 | 72.8712
| 1711.4105 | 31.0943 | 45.2 | 92.5 | 14.1057 | 61.4057 | 61.3682 | 172.8554 | 41.4 | 72.5 | 72.2546 | 72.2546
| 1728.5246 | 31.1807 | 44.8 | 88.1 | 13.6193 | 56.9193 | 56.8597 | 174.584 | 41.4 | 70.7 | 70.3971 | 70.3971
| 1745.8098 | 31.2671 | 44.5 | 97.2 | 13.2329 | 65.9329 | 65.9127 | 176.3298 | 42.4 | 72 | 71.7075 | 71.7075
| 1763.2679 | 31.3535 | 45.4 | 95.6 | 14.0465 | 64.2465 | 64.2196 | 178.0931 | 41.7 | 70.1 | 69.7633 | 69.7633
| 1780.9006 | 31.44 | 43.6 | 89.5 | 12.16 | 58.06 | 58.0159 | 179.8741 | 41.9 | 68.7 | 68.2936 | 68.2936
| 1798.7096 | 31.5264 | 44.3 | 96.2 | 12.7736 | 64.6736 | 64.6515 | 181.6728 | 41.8 | 69.1 | 68.7169 | 68.7169
| 1816.6967 | 31.6128 | 44.8 | 92.7 | 13.1872 | 61.0872 | 61.0521 | 183.4895 | 41.8 | 68.7 | 68.2984 | 68.2984
| 1834.8637 | 31.6993 | 44.9 | 93.6 | 13.2007 | 61.9007 | 61.8688 | 185.3244 | 42.2 | 63.5 | 62.718 | 62.718
| 1853.2123 | 31.7857 | 46.3 | 98.4 | 14.5143 | 66.6143 | 66.5927 | 187.1777 | 41.2 | 58.2 | 56.8773 | 56.8773
| 1871.7444 | 31.8721 | 45.5 | 89.6 | 13.6279 | 57.7279 | 57.6735 | 189.0494 | 43 | 55.1 | 52.6207 | 52.6207
| 1890.4619 | 31.9585 | 43.6 | 83.4 | 11.6415 | 51.4415 | 51.3521 | 190.9399 | 42.8 | 56.4 | 54.3643 | 54.3643
| 1909.3665 | 32.045 | 45.3 | 83.6 | 13.255 | 51.555 | 51.4487 | 192.8493 | 42.6 | 67.8 | 67.3091 | 67.3091
| 1928.4602 | 32.1314 | 45.6 | 93.7 | 13.4686 | 61.5686 | 61.5344 | 194.7778 | 42.4 | 61.8 | 60.8156 | 60.8156
| 1947.7448 | 32.2178 | 44.5 | 85.4 | 12.2822 | 53.1822 | 53.1035 | 196.7256 | 43.4 | 68.9 | 68.4262 | 68.4262
| 1967.2222 | 32.3043 | 44.1 | 89.6 | 11.7957 | 57.2957 | 57.2495 | 198.6929 | 43 | 70.6 | 70.2301 | 70.2301
| 1986.8944 | 32.3907 | 46.9 | 93.6 | 14.5093 | 61.2093 | 61.1691 | 200.6798 | 43.5 | 69.8 | 69.3689 | 69.3689
| 2006.7634 | 32.4771 | 47.4 | 95.1 | 14.9229 | 62.6229 | 62.587 | 202.6866 | 44 | 65.2 | 64.4085 | 64.4085
| 2026.831 | 32.5635 | 47.1 | 91.3 | 14.5365 | 58.7365 | 58.6827 | 204.7135 | 42.8 | 68.8 | 68.3534 | 68.3534
| 2047.0993 | 32.65 | 45.1 | 90.3 | 12.45 | 57.65 | 57.6022 | 206.7606 | 42.9 | 43.1 | 10.2445
| 2067.5703 | 32.7364 | 46.4 | 99.2 | 13.6636 | 66.4636 | 66.4437 | 208.8282 | 42.5 | 62.9 | 62.0282 | 62.0282
| 2088.246 | 32.8228 | 44.7 | 91.2 | 11.8772 | 58.3772 | 58.336 | 210.9165 | 41.9 | 63.9 | 63.1811 | 63.1811
| 2109.1285 | 32.9092 | 47.3 | 92.1 | 14.3908 | 59.1908 | 59.1406 | 213.0256 | 42.3 | 58.4 | 56.9199 | 56.9199
| 2130.2198 | 32.9957 | 45.6 | 88 | 12.6043 | 55.0043 | 54.9382 | 215.1559 | 42.2 | 57 | 55.2554 | 55.2554
| 2151.522 | 33.0821 | 45.7 | 90 | 12.6179 | 56.9179 | 56.8648 | 217.3075 | 42.9 | 57.2 | 55.3401 | 55.3401
| 2173.0372 | 33.1685 | 45.7 | 84.6 | 12.5315 | 51.4315 | 51.3323 | 219.4805 | 42.8 | 64.8 | 64.0811 | 64.0811
| 2194.7675 | 33.255 | 47.4 | 85.9 | 14.145 | 52.645 | 52.5412 | 221.6753 | 43.1 | 54 | 51.0849 | 51.0849
| 2216.7152 | 33.3414 | 49 | 91.2 | 15.6586 | 57.8586 | 57.7909 | 223.8921 | 42.7 | 56.3 | 54.2643 | 54.2643
| 2238.8824 | 33.4278 | 47.3 | 89.8 | 13.8722 | 56.3722 | 56.3068 | 226.131 | 42.8 | 53.2 | 50.0772 | 50.0772
| 2261.2712 | 33.5142 | 46.5 | 88.2 | 12.9858 | 54.6858 | 54.614 | 228.3923 | 43 | 61.5 | 60.401 | 60.401
| 2283.8839 | 33.6007 | 45.1 | 81.6 | 11.4993 | 47.9993 | 47.8684 | 230.6762 | 43.6 | 70.3 | 69.8888 | 69.8888
| 2306.7227 | 33.6871 | 49.4 | 89.7 | 15.7129 | 56.0129 | 55.9286 | 232.983 | 43.1 | 69.6 | 69.179 | 69.179
| 2329.79 | 33.7735 | 47.9 | 86.7 | 14.1265 | 52.9265 | 52.8262 | 235.3128 | 43.6 | 65.6 | 64.8811 | 64.8811
| 2353.0879 | 33.8599 | 48.9 | 90.5 | 15.0401 | 56.6401 | 56.5675 | 237.666 | 43.8 | 62.7 | 61.6536 | 61.6536
| 2376.6188 | 33.9464 | 48 | 89.5 | 14.0536 | 55.5536 | 55.4802 | 240.0426 | 43.4 | 56.6 | 54.4555 | 54.4555
| 2400.3849 | 34.0328 | 48 | 87.8 | 13.9672 | 53.7672 | 53.6779 | 242.4431 | 43.7 | 61 | 59.7257 | 59.7257
| 2424.3888 | 34.1192 | 47.2 | 84.9 | 13.0808 | 50.7808 | 50.6668 | 244.8675 | 43.9 | 63.2 | 62.2035 | 62.2035
| 2448.6327 | 34.2057 | 49.8 | 87.4 | 15.5943 | 53.1943 | 53.0791 | 247.3162 | 43.9 | 62.8 | 61.7536 | 61.7536
| 2473.119 | 34.2921 | 57.4 | 86.3 | 23.1079 | 52.0079 | 51.6904 | 249.7893 | 43.5 | 43.5 | -60
| 2497.8502 | 34.3785 | 50.9 | 85.3 | 16.5215 | 50.9215 | 50.7544 | 252.2872 | 43.9 | 44.1 | 11.2445
| 2522.8287 | 34.4649 | 50.6 | 86.4 | 16.1351 | 51.9351 | 51.793 | 254.8101 | 44.4 | 58.9 | 57.0872 | 57.0872
| 2548.057 | 34.5514 | 49 | 85.3 | 14.4486 | 50.7486 | 50.6146 | 257.3582 | 43.9 | 57 | 54.8273 | 54.8273
| 2573.5376 | 34.6378 | 49.1 | 83.8 | 14.4622 | 49.1622 | 49.0008 | 259.9318 | 43.7 | 44.9 | 27.1142 | 27.1142
| 2599.2729 | 34.7242 | 50.6 | 83.1 | 15.8758 | 48.3758 | 48.1673 | 262.5311 | 43.7 | 52.6 | 48.7382 | 48.7382
| 2625.2657 | 34.8106 | 48.3 | 78.7 | 13.4894 | 43.8894 | 43.623 | 265.1564 | 44.9 | 51.8 | 46.5779 | 46.5779
| 2651.5183 | 34.8971 | 50.5 | 82.1 | 15.6029 | 47.2029 | 46.9714 | 267.808 | 44.3 | 60.3 | 58.8012 | 58.8012
| 2678.0335 | 34.9835 | 49.9 | 81.6 | 14.9165 | 46.6165 | 46.3877 | 270.486 | 44.4 | 59.9 | 58.3037 | 58.3037
| 2704.8138 | 35.0699 | 49.6 | 83.6 | 14.5301 | 48.5301 | 48.355 | 273.1909 | 44.1 | 59.2 | 57.5207 | 57.5207
| 2731.862 | 35.1564 | 49.2 | 74.6 | 14.0436 | 39.4436 | 38.9642 | 275.9228 | 44.9 | 60.8 | 59.2822 | 59.2822
| 2759.1806 | 35.2428 | 51.3 | 79.6 | 16.0572 | 44.3572 | 44.0166 | 278.682 | 45.1 | 65.6 | 64.7387 | 64.7387
| 2786.7724 | 35.3292 | 51.9 | 74.9 | 16.5708 | 39.5708 | 38.933 | 281.4689 | 44.9 | 44.8 | -60
| 2814.6401 | 35.4156 | 50.8 | 73.1 | 15.3844 | 37.6844 | 36.9909 | 284.2835 | 44.8 | 60.8 | 59.3012 | 59.3012
| 2842.7865 | 35.5021 | 52.8 | 75.2 | 17.2979 | 39.6979 | 39.0127 | 287.1264 | 45.1 | 59.5 | 57.6638 | 57.6638
| 2871.2144 | 35.5885 | 53.7 | 76 | 18.1115 | 40.4115 | 39.718 | 289.9976 | 45.4 | 61 | 59.4238 | 59.4238
| 2899.9265 | 35.6749 | 54.3 | 77.9 | 18.6251 | 42.2251 | 41.6314 | 292.8976 | 45.3 | 56.6 | 53.8394 | 53.8394
| 2928.9258 | 35.7614 | 53 | 79 | 17.2386 | 43.2386 | 42.792 | 295.8266 | 45.1 | 46.4 | 29.2607 | 29.2607
| 2958.2151 | 35.8478 | 54.9 | 81.6 | 19.0522 | 45.7522 | 45.341 | 298.7849 | 45.8 | 50.4 | 42.6801 | 42.6801
| 2987.7972 | 35.9342 | 51.2 | 77.9 | 15.2658 | 41.9658 | 41.5546 | 301.7727 | 44.8 | 48 | 37.7758 | 37.7758
| 3017.6752 | 36.0206 | 51.4 | 74.2 | 15.3794 | 38.1794 | 37.5262 | 304.7904 | 45.2 | 48.1 | 37.162 | 37.162
| 3047.8519 | 36.1071 | 51.8 | 71.2 | 15.6929 | 35.0929 | 34.1085 | 307.8383 | 45.3 | 55.8 | 52.7201 | 52.7201
| 3078.3304 | 36.1935 | 52.1 | 73.1 | 15.9065 | 36.9065 | 36.0957 | 310.9167 | 45.3 | 57.3 | 54.7874 | 54.7874
| 3109.1137 | 36.2799 | 51.2 | 73.8 | 14.9201 | 37.5201 | 36.8511 | 314.0259 | 45.2 | 55.8 | 52.7623 | 52.7623
| 3140.2049 | 36.3663 | 52.4 | 71.8 | 16.0337 | 35.4337 | 34.4492 | 317.1662 | 46.4 | 61.5 | 59.8207 | 59.8207
| 3171.6069 | 36.4528 | 53.4 | 75 | 16.9472 | 38.5472 | 37.7929 | 320.3378 | 45.5 | 63.7 | 62.5597 | 62.5597
| 3203.323 | 36.5392 | 54 | 74.3 | 17.4608 | 37.7608 | 36.8784 | 323.5412 | 45.9 | 62.2 | 60.7566 | 60.7566
| 3235.3562 | 36.6256 | 52.3 | 76.2 | 15.6744 | 39.5744 | 39.0015 | 326.7766 | 46.3 | 46.2 | -60
| 3267.7098 | 36.7121 | 52.4 | 70.8 | 15.6879 | 34.0879 | 32.9754 | 330.0444 | 46.6 | 58.5 | 55.9536 | 55.9536
| 3300.3869 | 36.7985 | 52.3 | 73.8 | 15.5015 | 37.0015 | 36.2381 | 333.3448 | 46.7 | 61.6 | 59.8775 | 59.8775
| 3333.3908 | 36.8849 | 53.2 | 69 | 16.3151 | 32.1151 | 30.5781 | 336.6783 | 47.4 | 59.2 | 56.6193 | 56.6193
| 3366.7247 | 36.9713 | 52.8 | 76.5 | 15.8287 | 39.5287 | 38.942 | 340.0451 | 47 | 54.3 | 49.3943 | 49.3943
| 3400.3919 | 37.0578 | 51.8 | 71.8 | 14.7422 | 34.7422 | 33.8271 | 343.4455 | 46.9 | 53.4 | 47.8337 | 47.8337
| 3434.3958 | 37.1442 | 52.4 | 75.9 | 15.2558 | 38.7558 | 38.155 | 346.88 | 46.3 | 57.4 | 54.5634 | 54.5634
| 3468.7398 | 37.2306 | 51 | 71.5 | 13.7694 | 34.2694 | 33.4081 | 350.3488 | 46.9 | 60.6 | 58.5905 | 58.5905
| 3503.4272 | 37.317 | 53.3 | 73.9 | 15.983 | 36.583 | 35.732 | 353.8522 | 46.4 | 55.8 | 52.2061 | 52.2061
| 3538.4615 | 37.4035 | 54.8 | 73.5 | 17.3965 | 36.0965 | 35.0241 | 357.3908 | 46.3 | 54.3 | 49.8904 | 49.8904
| 3573.8461 | 37.4899 | 52.3 | 66.6 | 14.8101 | 29.1101 | 27.2502 | 360.9647 | 46.4 | 58.8 | 56.4176 | 56.4176
| 3609.5845 | 37.5763 | 54.4 | 75.2 | 16.8237 | 37.6237 | 36.793 | 364.5743 | 46.8 | 59.3 | 56.9489 | 56.9489
| 3645.6804 | 37.6628 | 51.5 | 72.4 | 13.8372 | 34.7372 | 33.9166 | 368.2201 | 46.8 | 55.8 | 51.9937 | 51.9937
| 3682.1372 | 37.7492 | 52.4 | 76.6 | 14.6508 | 38.8508 | 38.298 | 371.9023 | 47.2 | 51.2 | 42.5415 | 42.5415
| 3718.9586 | 37.8356 | 52.9 | 69.4 | 15.0644 | 31.5644 | 30.1566 | 375.6213 | 47.2 | 48.8 | 33.3184 | 33.3184
| 3756.1481 | 37.922 | 53.7 | 73.2 | 15.778 | 35.278 | 34.3054 | 379.3775 | 46.9 | 46.8 | -60
| 3793.7096 | 38.0085 | 52.8 | 71.5 | 14.7915 | 33.4915 | 32.4192 | 383.1713 | 47.4 | 48.5 | 30.0074 | 30.0074
| 3831.6467 | 38.0949 | 53.2 | 74.7 | 15.1051 | 36.6051 | 35.8417 | 387.003 | 48.7 | 52.5 | 43.4885 | 43.4885
| 3869.9632 | 38.1813 | 52.7 | 75.9 | 14.5187 | 37.7187 | 37.096 | 390.873 | 47.2 | 54 | 48.6946 | 48.6946
| 3908.6628 | 38.2677 | 53.4 | 77.5 | 15.1323 | 39.2323 | 38.6729 | 394.7817 | 47.4 | 54 | 48.5226 | 48.5226
| 3947.7495 | 38.3542 | 55.1 | 82.6 | 16.7458 | 44.2458 | 43.8716 | 398.7296 | 48.1 | 52 | 43.1678 | 43.1678
| 3987.2269 | 38.4406 | 53.5 | 74.7 | 15.0594 | 36.2594 | 35.4679 | 402.7169 | 48.3 | 53.5 | 46.5731 | 46.5731
| 4027.0992 | 38.527 | 52.4 | 79.3 | 13.873 | 40.773 | 40.3713 | 406.744 | 48.7 | 50.6 | 36.4661 | 36.4661
| 4067.3702 | 38.6135 | 52.7 | 77.6 | 14.0865 | 38.9865 | 38.4778 | 410.8115 | 48.4 | 55 | 49.5226 | 49.5226
| 4108.0439 | 38.6999 | 51.8 | 70.3 | 13.1001 | 31.6001 | 30.5011 | 414.9196 | 49.2 | 52.8 | 43.4118 | 43.4118
| 4149.1244 | 38.7863 | 53.5 | 81.1 | 14.7137 | 42.3137 | 41.9438 | 419.0688 | 49.5 | 49.2 | -60
| 4190.6156 | 38.8727 | 56.7 | 74 | 17.8273 | 35.1273 | 33.8529 | 423.2595 | 49.5 | 53.6 | 45.1099 | 45.1099
| 4232.5217 | 38.9592 | 54.2 | 73 | 15.2408 | 34.0408 | 32.9815 | 427.4921 | 48.8 | 49.9 | 31.4074 | 31.4074
| 4274.847 | 39.0456 | 57 | 77 | 17.9544 | 37.9544 | 37.0393 | 431.767 | 48.7 | 53 | 44.8316 | 44.8316
| 4317.5954 | 39.132 | 56.9 | 73.4 | 17.768 | 34.268 | 32.8602 | 436.0847 | 49.4 | 55.6 | 49.7552 | 49.7552
| 4360.7714 | 39.2184 | 55.3 | 73.6 | 16.0816 | 34.3816 | 33.2552 | 440.4455 | 48.9 | 56 | 50.9394 | 50.9394
| 4404.3791 | 39.3049 | 52.9 | 74.2 | 13.5951 | 34.8951 | 34.1131 | 444.85 | 49.7 | 49.7 | -60
| 4448.4229 | 39.3913 | 56.3 | 74.3 | 16.9087 | 34.9087 | 33.74 | 449.2985 | 47.5 | 53.4 | 47.2571 | 47.2571
| 4492.9071 | 39.4777 | 56.9 | 71.5 | 17.4223 | 32.0223 | 30.2325 | 453.7914 | 47.8 | 60.4 | 58.0798 | 58.0798
| 4537.8362 | 39.5642 | 58 | 77.7 | 18.4358 | 38.1358 | 37.1867 | 458.3294 | 47.7 | 61.8 | 59.8917 | 59.8917
| 4583.2146 | 39.6506 | 56.7 | 76.3 | 17.0494 | 36.6494 | 35.6887 | 462.9126 | 47.9 | 60.3 | 57.9176 | 57.9176
| 4629.0467 | 39.737 | 57.1 | 74.3 | 17.363 | 34.563 | 33.2727 | 467.5418 | 48.1 | 62.5 | 60.6638 | 60.6638
| 4675.3372 | 39.8234 | 57.8 | 79.7 | 17.9766 | 39.8766 | 39.149 | 472.2172 | 48 | 63.5 | 61.9037 | 61.9037
| 4722.0905 | 39.9099 | 57.5 | 82.7 | 17.5901 | 42.7901 | 42.2992 | 476.9394 | 47.4 | 61.7 | 59.8401 | 59.8401
| 4769.3114 | 39.9963 | 57.4 | 81.5 | 17.4037 | 41.5037 | 40.9443 | 481.7088 | 47.7 | 62.6 | 60.8775 | 60.8775
| 4817.0046 | 40.0827 | 54.9 | 77.7 | 14.8173 | 37.6173 | 36.9641 | 486.5258 | 48 | 59.7 | 57.0844 | 57.0844
| 4865.1746 | 40.1692 | 57.2 | 79.9 | 17.0308 | 39.7308 | 39.0698 | 491.3911 | 48 | 58.7 | 55.7038 | 55.7038
| 4913.8264 | 40.2556 | 57.3 | 78.3 | 17.0444 | 38.0444 | 37.2336 | 496.305 | 48.8 | 55.6 | 50.2946 | 50.2946
| 4962.9646 | 40.342 | 57.7 | 83.8 | 17.358 | 43.458 | 43.0166 | 501.2681 | 48.2 | 48.9 | 26.678
| 5012.5943 | 40.4284 | 54.8 | 79.7 | 14.3716 | 39.2716 | 38.7629 | 506.2807 | 48 | 53.3 | 46.4936 | 46.4936
| 5062.7202 | 40.5149 | 55.3 | 82.3 | 14.7851 | 41.7851 | 41.3882 | 511.3436 | 48.9 | 49 | 10.1738
| 5113.3474 | 40.6013 | 55.7 | 90 | 15.0987 | 49.3987 | 49.2297 | 516.457 | 48.5 | 48.7 | 15.8445
| 5164.4809 | 40.6877 | 54.3 | 82.6 | 13.6123 | 41.9123 | 41.5716 | 521.6216 | 48.9 | 48.8 | -60
| 5216.1257 | 40.7741 | 57.3 | 81.1 | 16.5259 | 40.3259 | 39.7461 | 526.8378 | 49.3 | 48 | -60
| 5268.2869 | 40.8606 | 56.4 | 81.6 | 15.5394 | 40.7394 | 40.2485 | 532.1061 | 49.1 | 49.4 | 20.0166
| 5320.9698 | 40.947 | 56.9 | 78.8 | 15.953 | 37.853 | 37.1254 | 537.4272 | 48.6 | 48.6 | -60
| 5374.1795 | 41.0334 | 56.2 | 84.6 | 15.1666 | 43.5666 | 43.2299 | 542.8015 | 49.4 | 50.1 | 27.878
| 5427.9213 | 41.1199 | 56.7 | 78.5 | 15.5801 | 37.3801 | 36.6438 | 548.2295 | 49.5 | 49.5 | -60
| 5482.2005 | 41.2063 | 57.4 | 76.4 | 16.1937 | 35.1937 | 34.16 | 553.7118 | 48.8 | 55.4 | 49.9226 | 49.9226
| 5537.0225 | 41.2927 | 56.2 | 75.3 | 14.9073 | 34.0073 | 32.9861 | 559.2489 | 48.1 | 56.5 | 52.3452 | 52.3452
| 5592.3928 | 41.3791 | 55.6 | 73.6 | 14.2209 | 32.2209 | 31.0522 | 564.8414 | 48.6 | 58.9 | 55.7335 | 55.7335
| 5648.3167 | 41.4656 | 54.9 | 70.2 | 13.4344 | 28.7344 | 27.0972 | 570.4898 | 49 | 56.2 | 51.2176 | 51.2176
| 5704.7999 | 41.552 | 56.6 | 81.2 | 15.048 | 39.648 | 39.1209 | 576.1947 | 48.9 | 54.3 | 47.611 | 47.611
| 5761.8478 | 41.6384 | 56.3 | 73.9 | 14.6616 | 32.2616 | 31.0337 | 581.9567 | 49.1 | 55.5 | 49.8429 | 49.8429
| 5819.4663 | 41.7248 | 57.3 | 71.1 | 15.5752 | 29.3752 | 27.3915 | 587.7762 | 48.8 | 49.4 | 25.8885
| 5877.661 | 41.8113 | 56.4 | 72.8 | 14.5887 | 30.9887 | 29.5632 | 593.654 | 48.5 | 50.5 | 36.7635 | 36.7635
| 5936.4376 | 41.8977 | 58.3 | 74.2 | 16.4023 | 32.3023 | 30.7845 | 599.5905 | 49.2 | 48.8 | -60
| 5995.802 | 41.9841 | 55.7 | 67.5 | 13.7159 | 25.5159 | 22.9352 | 605.5864 | 49.8 | 50.9 | 32.4074 | 32.4074
| 6055.76 | 42.0706 | 59.5 | 77.7 | 17.4294 | 35.6294 | 34.4892 | 611.6423 | 50.1 | 49.5 | -60
| 6116.3176 | 42.157 | 61.7 | 86.1 | 19.543 | 43.943 | 43.4032 | 617.7587 | 50.6 | 49.7 | -60
| 6177.4808 | 42.2434 | 63.9 | 74.5 | 21.6566 | 32.2566 | 29.2189 | 623.9363 | 50.6 | 50 | -60
| 6239.2556 | 42.3298 | 61.8 | 73.4 | 19.4702 | 31.0702 | 28.4192 | 630.1757 | 49.7 | 51 | 33.8607 | 33.8607
| 6301.6481 | 42.4163 | 63.6 | 79.6 | 21.1837 | 37.1837 | 35.6849 | 636.4774 | 51.1 | 51.7 | 28.1885
| 6364.6646 | 42.5027 | 62 | 72.2 | 19.4973 | 29.6973 | 26.4865 | 642.8422 | 50.5 | 52.9 | 40.5556 | 40.5556
| 6428.3113 | 42.5891 | 63.3 | 75.1 | 20.7109 | 32.5109 | 29.9302 | 649.2706 | 50.9 | 54.6 | 45.4033 | 45.4033
| 6492.5944 | 42.6755 | 62 | 83.9 | 19.3245 | 41.2245 | 40.4969 | 655.7633 | 50.2 | 53.6 | 43.8087 | 43.8087
| 6557.5203 | 42.762 | 62.8 | 71.9 | 20.038 | 29.138 | 25.3862 | 662.321 | 49.6 | 57.3 | 52.6861 | 52.6861
| 6623.0955 | 42.8484 | 62.5 | 68.5 | 19.6516 | 25.6516 | 19.6103 | 668.9442 | 49.7 | 54.8 | 47.7495 | 47.7495
| 6689.3265 | 42.9348 | 63.7 | 76 | 20.7652 | 33.0652 | 30.651 | 675.6336 | 51.1 | 57.6 | 52.0337 | 52.0337
| 6756.2197 | 43.0213 | 64.9 | 73.5 | 21.8787 | 30.4787 | 26.4444 | 682.39 | 50.5 | 57 | 51.4337 | 51.4337
| 6823.7819 | 43.1077 | 65.2 | 75.4 | 22.0923 | 32.2923 | 29.0815 | 689.2138 | 50.2 | 57.4 | 52.4176 | 52.4176
| 6892.0198 | 43.1941 | 63 | 65.8 | 19.8059 | 22.6059 | 11.4103 | 696.106 | 50 | 53.3 | 43.2962 | 43.2962
| 6960.94 | 43.2805 | 63.4 | 80.2 | 20.1195 | 36.9195 | 35.5634 | 703.067 | 51 | 53.2 | 40.1954 | 40.1954
| 7030.5494 | 43.367 | 63 | 69.9 | 19.633 | 26.533 | 21.3109 | 710.0977 | 50.1 | 50.8 | 28.578
| 7100.8548 | 43.4534 | 65 | 66.4 | 21.5466 | 22.9466 | 6.4023 | 717.1987 | 50.5 | 50.9 | 23.9657
| 7171.8634 | 43.5398 | 64.6 | 68.4 | 21.0602 | 24.8602 | 15.8487 | 724.3707 | 51.5 | 51 | -60
| 7243.582 | 43.6263 | 65.3 | 71.7 | 21.6737 | 28.0737 | 22.4167 | 731.6144 | 50.9 | 51.7 | 30.5886
| 7316.0179 | 43.7127 | 65.6 | 69.3 | 21.8873 | 25.5873 | 16.3906 | 738.9305 | 50.5 | 50.9 | 23.9657
| 7389.178 | 43.7991 | 65.9 | 74.3 | 22.1009 | 30.5009 | 26.3461 | 746.3198 | 50.6 | 50.3 | -60
| 7463.0698 | 43.8855 | 67.9 | 79.1 | 24.0145 | 35.2145 | 32.4162 | 753.783 | 50.9 | 50.8 | -60
| 7537.7005 | 43.972 | 63.9 | 67.7 | 19.928 | 23.728 | 14.7166 | 761.3209 | 51 | 51.4 | 24.4657
| 7613.0775 | 44.0584 | 63.2 | 67.5 | 19.1416 | 23.4416 | 15.2732 | 768.9341 | 50.3 | 51.3 | 32.0285 | 32.0285
| 7689.2083 | 44.1448 | 66.4 | 69.9 | 22.2552 | 25.7552 | 16.1689 | 776.6234 | 51 | 51 | -60
| 7766.1004 | 44.2312 | 67.7 | 74.8 | 23.4688 | 30.5688 | 25.5081 | 784.3897 | 51.6 | 50.9 | -60
| 7843.7614 | 44.3177 | 67.1 | 75.1 | 22.7823 | 30.7823 | 26.3727 | 792.2335 | 51 | 50.8 | -60
| 7922.199 | 44.4041 | 65.8 | 71.6 | 21.3959 | 27.1959 | 20.949 | 800.1559 | 51.6 | 51.7 | 12.8738
| 8000 | 44.489 | 68.3 | 76 | 23.811 | 31.511 | 26.8971 | 808.1574 | 52.2 | 52.9 | 30.678
| 8000 | 44.489 | 67.1 | 91.7 | 22.611 | 47.211 | 46.6839 | 816.239 | 52 | 51.6 | -60
| 8080 | 44.5754 | 65.9 | 88.4 | 21.3246 | 43.8246 | 43.1475 | 824.4014 | 51.9 | 52.6 | 30.378
| 8160.8 | 44.6618 | 66.7 | 89.6 | 22.0382 | 44.9382 | 44.2927 | 832.6454 | 52.4 | 52.4 | -60
| 8242.408 | 44.7483 | 67.9 | 96.3 | 23.1517 | 51.5517 | 51.2151 | 840.9719 | 52.8 | 52.6 | -60
| 8324.8321 | 44.8347 | 67.6 | 88.4 | 22.7653 | 43.5653 | 42.7347 | 849.3816 | 53.2 | 52.6 | -60
| 8408.0804 | 44.9211 | 67.8 | 91 | 22.8789 | 46.0789 | 45.4562 | 857.8754 | 53.1 | 52.2 | -60
| 8492.1612 | 45.0075 | 67.7 | 92.2 | 22.6925 | 47.1925 | 46.659 | 866.4542 | 52.4 | 53.5 | 35.0074 | 35.0074
| 8577.0828 | 45.094 | 67.9 | 88.3 | 22.806 | 43.206 | 42.3342 | 875.1187 | 51.9 | 52.1 | 19.2445
| 8662.8536 | 45.1804 | 71.7 | 96 | 26.5196 | 50.8196 | 50.2733 | 883.8699 | 52.4 | 52.9 | 27.8543
| 8749.4822 | 45.2668 | 68.8 | 92.2 | 23.5332 | 46.9332 | 46.3251 | 892.7086 | 52.7 | 53 | 23.6166
| 8836.977 | 45.3533 | 70.8 | 84.4 | 25.4467 | 39.0467 | 37.011 | 901.6357 | 52.7 | 52.4 | -60
| 8925.3468 | 45.4397 | 67.1 | 88.8 | 21.6603 | 43.3603 | 42.615 | 910.652 | 53.9 | 60.9 | 55.7595 | 55.7595
| 9014.6002 | 45.5261 | 70.1 | 82.6 | 24.5739 | 37.0739 | 34.7228 | 919.7586 | 53.1 | 57.5 | 49.4854 | 49.4854
| 9104.7462 | 45.6125 | 69 | 90.7 | 23.3875 | 45.0875 | 44.3422 | 928.9561 | 52.7 | 57.3 | 49.5801 | 49.5801
| 9195.7937 | 45.699 | 68.4 | 81.6 | 22.701 | 35.901 | 33.7565 | 938.2457 | 53.1 | 52.4 | -60
| 9287.7516 | 45.7854 | 67.5 | 78.5 | 21.7146 | 32.7146 | 29.839 | 947.6282 | 52.6 | 62.4 | 59.0042 | 59.0042
| 9380.6292 | 45.8718 | 67 | 80.4 | 21.1282 | 34.5282 | 32.4389 | 957.1044 | 53.2 | 64.6 | 61.8765 | 61.8765
| 9474.4355 | 45.9583 | 69 | 77.5 | 23.0417 | 31.5417 | 27.4477 | 966.6755 | 52.7 | 57.5 | 50.0588 | 50.0588
| 9569.1798 | 46.0447 | 70.7 | 75.2 | 24.6553 | 29.1553 | 21.2902 | 976.3422 | 52.6 | 55.8 | 45.5758 | 45.5758
| 9664.8716 | 46.1311 | 71.5 | 77.1 | 25.3689 | 30.9689 | 24.5063 | 986.1057 | 52.7 | 58.2 | 51.6256 | 51.6256
| 9761.5203 | 46.2175 | 71.7 | 79.6 | 25.4825 | 33.3825 | 28.9061 | 995.9667 | 53.5 | 55.9 | 43.5556 | 43.5556
| 9859.1355 | 46.304 | 71.5 | 75.9 | 25.196 | 29.596 | 21.5815 | 1005.9264 | 52.9 | 64.2 | 61.4394 | 61.4394
| 9957.7269 | 46.3904 | 70.5 | 75.2 | 24.1096 | 28.8096 | 21.231 | 1015.9856 | 52.9 | 57.9 | 50.7227 | 50.7227
| 10057.3041 | 46.4768 | 72 | 76.5 | 25.5232 | 30.0232 | 22.1581 | 1026.1455 | 53.7 | 60.7 | 55.5595 | 55.5595
| 10157.8772 | 46.5632 | 71.2 | 80.1 | 24.6368 | 33.5368 | 29.675 | 1036.407 | 54.2 | 57.5 | 47.4962 | 47.4962
| 10259.456 | 46.6497 | 72.1 | 77.8 | 25.4503 | 31.1503 | 24.7968 | 1046.771 | 53.7 | 65.7 | 63.1874 | 63.1874
| 10362.0505 | 46.7361 | 73.4 | 76.7 | 26.6639 | 29.9639 | 19.9601 | 1057.2387 | 53.9 | 63.7 | 60.3042 | 60.3042
| 10465.671 | 46.8225 | 72 | 74.2 | 25.1775 | 27.3775 | 14.3728 | 1067.8111 | 53.1 | 69.6 | 68.1922 | 68.1922
| 10570.3277 | 46.909 | 72.1 | 82.9 | 25.191 | 35.991 | 33.0357 | 1078.4892 | 53.4 | 70.5 | 69.1936 | 69.1936
| 10676.031 | 46.9954 | 71 | 74.3 | 24.0046 | 27.3046 | 17.3008 | 1089.2741 | 54 | 53.5 | -60
| 10782.7913 | 47.0818 | 67.8 | 72.4 | 20.7182 | 25.3182 | 17.5983 | 1100.1669 | 53.6 | 69.1 | 67.5037 | 67.5037
| 10890.6192 | 47.1682 | 71.6 | 80.3 | 24.4318 | 33.1318 | 29.156 | 1111.1685 | 53.1 | 72.7 | 71.7392 | 71.7392
| 10999.5254 | 47.2547 | 75.2 | 79.5 | 27.9453 | 32.2453 | 24.0769 | 1122.2802 | 53.6 | 69.4 | 67.863 | 67.863
| 11109.5207 | 47.3411 | 74.1 | 78.5 | 26.7589 | 31.1589 | 23.1444 | 1133.503 | 53.1 | 66.7 | 64.6643 | 64.6643
| 11220.6159 | 47.4275 | 73.1 | 79.2 | 25.6725 | 31.7725 | 25.8306 | 1144.8381 | 53.2 | 68.6 | 66.9834 | 66.9834
| 11332.822 | 47.5139 | 73.3 | 82 | 25.7861 | 34.4861 | 30.5103 | 1156.2864 | 53.6 | 63.1 | 59.5569 | 59.5569
| 11446.1503 | 47.6004 | 74.3 | 85.2 | 26.6996 | 37.5996 | 34.6845 | 1167.8493 | 54.3 | 65.2 | 62.2849 | 62.2849
| 11560.6118 | 47.6868 | 73.2 | 81.4 | 25.5132 | 33.7132 | 29.4334 | 1179.5278 | 53.6 | 59.6 | 53.5588 | 53.5588
| 11676.2179 | 47.7732 | 74 | 83.9 | 26.2268 | 36.1268 | 32.7784 | 1191.3231 | 53.7 | 56.9 | 46.6758 | 46.6758
| 11792.9801 | 47.8597 | 73.8 | 79.5 | 25.9403 | 31.6403 | 25.2869 | 1203.2363 | 54.2 | 54.6 | 27.6657
| 11910.9099 | 47.9461 | 74.3 | 84.8 | 26.3539 | 36.8539 | 33.774 | 1215.2687 | 54.7 | 60.7 | 54.6588 | 54.6588
| 12030.019 | 48.0325 | 75.1 | 84.8 | 27.0675 | 36.7675 | 33.3234 | 1227.4214 | 53.7 | 54.3 | 30.7885
| 12150.3192 | 48.1189 | 75.8 | 92.7 | 27.6811 | 44.5811 | 43.2418 | 1239.6956 | 54.1 | 66.2 | 63.7207 | 63.7207
| 12271.8223 | 48.2054 | 76.1 | 85.8 | 27.8946 | 37.5946 | 34.1505 | 1252.0925 | 53.9 | 63 | 59.2482 | 59.2482
| 12394.5406 | 48.2918 | 75.4 | 84.2 | 27.1082 | 35.9082 | 31.9899 | 1264.6135 | 54.4 | 59.6 | 52.6731 | 52.6731
| 12518.486 | 48.3782 | 76.8 | 87 | 28.4218 | 38.6218 | 35.411 | 1277.2596 | 54.9 | 54.3 | -60
| 12643.6708 | 48.4646 | 72.3 | 82.9 | 23.8354 | 34.4354 | 31.3976 | 1290.0322 | 55.2 | 57.1 | 42.9661 | 42.9661
| 12770.1075 | 48.5511 | 73.1 | 80.7 | 24.5489 | 32.1489 | 27.4642 | 1302.9325 | 55 | 56.7 | 41.6966 | 41.6966
| 12897.8086 | 48.6375 | 75.2 | 79.8 | 26.5625 | 31.1625 | 23.4426 | 1315.9618 | 55.3 | 59.2 | 50.3678 | 50.3678
| 13026.7867 | 48.7239 | 75.7 | 81.3 | 26.9761 | 32.5761 | 26.1135 | 1329.1214 | 55.6 | 57.9 | 45.2336 | 45.2336
| 13157.0546 | 48.8104 | 76.4 | 82.4 | 27.5896 | 33.5896 | 27.5484 | 1342.4127 | 55.5 | 58.1 | 46.3556 | 46.3556
| 13288.6251 | 48.8968 | 74.6 | 84.2 | 25.7032 | 35.3032 | 31.81 | 1355.8368 | 55.5 | 67.1 | 64.449 | 64.449
| 13421.5114 | 48.9832 | 75.2 | 76.7 | 26.2168 | 27.7168 | 11.7231 | 1369.3952 | 55.8 | 64.2 | 60.0452 | 60.0452
| 13555.7265 | 49.0696 | 72.9 | 72.9 | 23.8304 | 23.8304 |  | 1383.0891 | 56.7 | 60 | 49.9962 | 49.9962
| 13691.2838 | 49.1561 | 74.7 | 74.5 | 25.5439 | 25.3439 |  | 1396.92 | 55.7 | 56 | 26.6166
| 13828.1966 | 49.2425 | 76.2 | 76.1 | 26.9575 | 26.8575 |  | 1410.8892 | 56.8 | 66.4 | 62.9068 | 62.9068
| 13966.4786 | 49.3289 | 76 | 76 | 26.6711 | 26.6711 |  | 1424.9981 | 56.2 | 56.1 | -60
| 14106.1433 | 49.4153 | 76.6 | 77.2 | 27.1847 | 27.7847 |  | 1439.2481 | 55.6 | 59.1 | 49.5138 | 49.5138
| 14247.2048 | 49.5018 | 74.1 | 74.5 | 24.5982 | 24.9982 |  | 1453.6406 | 56.5 | 56.6 | 17.7738
| 14389.6768 | 49.5882 | 75.5 | 75 | 25.9118 | 25.4118 |  | 1468.177 | 57 | 57.1 | 18.2738
| 14533.5736 | 49.6746 | 75.4 | 74.9 | 25.7254 | 25.2254 |  | 1482.8587 | 57.5 | 56.9 | -60
| 14678.9093 | 49.7611 | 76.9 | 76.7 | 27.1389 | 26.9389 |  | 1497.6873 | 57.6 | 57.1 | -60
| 14825.6984 | 49.8475 | 78 | 78.1 | 28.1525 | 28.2525 |  | 1512.6642 | 57.1 | 66.9 | 63.5042 | 63.5042
| 14973.9554 | 49.9339 | 78.4 | 78.1 | 28.4661 | 28.1661 |  | 1527.7908 | 56.5 | 75.8 | 74.8035 | 74.8035
| 15123.695 | 50.0203 | 77.3 | 76.3 | 27.2797 | 26.2797 |  | 1543.0687 | 57 | 75.1 | 73.9456 | 73.9456
| 15274.9319 | 50.1068 | 76.8 | 78.7 | 26.6932 | 28.5932 | 14.4593 | 1558.4994 | 56.8 | 68.6 | 66.0193 | 66.0193
| 15427.6812 | 50.1932 | 81.4 | 80.5 | 31.2068 | 30.3068 |  | 1574.0844 | 56.6 | 74.1 | 72.8569 | 72.8569
| 15581.958 | 50.2796 | 78.3 | 78.9 | 28.0204 | 28.6204 |  | 1589.8253 | 56.1 | 75 | 73.9536 | 73.9536
| 15737.7776 | 50.3661 | 79.2 | 79.4 | 28.8339 | 29.0339 |  | 1605.7235 | 56.9 | 70.5 | 68.4643 | 68.4643
| 15895.1554 | 50.4525 | 77.6 | 77.4 | 27.1475 | 26.9475 |  | 1621.7808 | 56.7 | 70.9 | 69.0161 | 69.0161
| 16054.1069 | 50.5389 | 78.6 | 79.9 | 28.0611 | 29.3611 | 12.2218 | 1637.9986 | 57.4 | 69.1 | 66.4844 | 66.4844
| 16214.648 | 50.6253 | 77.9 | 78.2 | 27.2747 | 27.5747 |  | 1654.3785 | 56.4 | 70.8 | 68.9638 | 68.9638
| 16376.7945 | 50.7118 | 81 | 84 | 30.2882 | 33.2882 | 22.5975 | 1670.9223 | 56.7 | 64.5 | 59.9555 | 59.9555
| 16540.5624 | 50.7982 | 78.1 | 82.5 | 27.3018 | 31.7018 | 23.6873 | 1687.6316 | 57.2 | 71.4 | 69.5161 | 69.5161
| 16705.9681 | 50.8846 | 81.2 | 84.3 | 30.3154 | 33.4154 | 22.9624 | 1704.5079 | 56.7 | 72.7 | 71.2012 | 71.2012
| 16873.0277 | 50.971 | 78.4 | 78 | 27.429 | 27.029 |  | 1721.5529 | 57.5 | 71 | 68.9377 | 68.9377
| 17041.758 | 51.0575 | 79.4 | 79.8 | 28.3425 | 28.7425 |  | 1738.7685 | 57.3 | 73.8 | 72.3922 | 72.3922
| 17212.1756 | 51.1439 | 79.7 | 79.7 | 28.5561 | 28.5561 |  | 1756.1562 | 57.7 | 66.3 | 62.2656 | 62.2656
| 17384.2974 | 51.2303 | 80.4 | 81 | 29.1697 | 29.7697 |  | 1773.7177 | 58.2 | 70.2 | 67.6874 | 67.6874
| 17558.1403 | 51.3168 | 80.7 | 80.1 | 29.3832 | 28.7832 |  | 1791.4549 | 58 | 69.3 | 66.5394 | 66.5394
| 17733.7217 | 51.4032 | 81.1 | 80.9 | 29.6968 | 29.4968 |  | 1809.3694 | 57.7 | 66.2 | 62.106 | 62.106
| 17911.059 | 51.4896 | 82.3 | 81.6 | 30.8104 | 30.1104 |  | 1827.4631 | 58.5 | 68.1 | 64.6068 | 64.6068
| 18000 | 51.5326 | 77.5 | 77.4 | 25.9674 | 25.8674 |  | 1845.7378 | 58.8 | 76.8 | 75.6313 | 75.6313
[8 empty] | 1864.1952 | 58.8 | 66.2 | 61.3695 | 61.3695
[8 empty] | 1882.8371 | 58.4 | 71.2 | 68.9401 | 68.9401
[8 empty] | 1901.6655 | 57.8 | 66.1 | 61.8833 | 61.8833
[8 empty] | 1920.6821 | 58.1 | 58.8 | 36.578
[8 empty] | 1939.889 | 58.1 | 58.3 | 25.4445
[8 empty] | 1959.2878 | 59.4 | 58.3 | -60
[8 empty] | 1978.8807 | 60 | 62.6 | 50.8556 | 50.8556
[8 empty] | 1998.6695 | 58.7 | 68.2 | 64.6569 | 64.6569
[8 empty] | 2018.6562 | 59.3 | 67.2 | 62.7236 | 62.7236
[8 empty] | 2038.8428 | 58.7 | 66.7 | 62.2904 | 62.2904
[8 empty] | 2059.2312 | 58.9 | 63.5 | 55.7801 | 55.7801
[8 empty] | 2079.8235 | 59 | 66.6 | 61.9153 | 61.9153
[8 empty] | 2100.6218 | 59.5 | 62.9 | 53.1087 | 53.1087
[8 empty] | 2121.628 | 59.8 | 62.4 | 50.6556 | 50.6556
[8 empty] | 2142.8443 | 59.5 | 69.1 | 65.6068 | 65.6068
[8 empty] | 2164.2727 | 59.5 | 65.3 | 59.0531 | 59.0531
[8 empty] | 2185.9154 | 59.9 | 62.2 | 49.5336 | 49.5336
[8 empty] | 2207.7746 | 59.9 | 65 | 57.9495 | 57.9495
[8 empty] | 2229.8523 | 59.7 | 60.8 | 42.3074 | 42.3074
[8 empty] | 2252.1508 | 60.6 | 60 | -60
[8 empty] | 2274.6724 | 60.4 | 64.2 | 55.1885 | 55.1885
[8 empty] | 2297.4191 | 60 | 64.6 | 56.8801 | 56.8801
[8 empty] | 2320.3933 | 60.3 | 60.1 | -60
[8 empty] | 2343.5972 | 60.9 | 60.2 | -60
[8 empty] | 2367.0332 | 61.4 | 61.3 | -60
[8 empty] | 2390.7035 | 62.4 | 63.6 | 45.8142 | 45.8142
[8 empty] | 2414.6105 | 61.4 | 60.9 | -60
[8 empty] | 2438.7566 | 61.9 | 64.8 | 53.862 | 53.862
[8 empty] | 2463.1442 | 62.2 | 62.8 | 39.2885
[8 empty] | 2487.7757 | 63 | 63.9 | 43.7624 | 43.7624
[8 empty] | 2512.6534 | 63.2 | 64 | 42.8886
[8 empty] | 2537.78 | 62.6 | 63.4 | 42.2886
[8 empty] | 2563.1577 | 63.8 | 63.8 | -60
[8 empty] | 2588.7893 | 63.4 | 63.5 | 24.6738
[8 empty] | 2614.6772 | 62.4 | 64.6 | 51.5954 | 51.5954
[8 empty] | 2640.824 | 64.2 | 65.6 | 49.0557 | 49.0557
[8 empty] | 2667.2322 | 61.9 | 62 | 23.1738
[8 empty] | 2693.9046 | 62.3 | 62.4 | 23.5738
[8 empty] | 2720.8436 | 62.2 | 63.2 | 43.9285 | 43.9285
[8 empty] | 2748.052 | 63.1 | 63 | -60
[8 empty] | 2775.5326 | 63.8 | 63.1 | -60
[8 empty] | 2803.2879 | 62.7 | 62.6 | -60
[8 empty] | 2831.3208 | 63.3 | 63.4 | 24.5738
[8 empty] | 2859.634 | 63.8 | 64.5 | 42.278
[8 empty] | 2888.2303 | 64.3 | 64.3 | -60
[8 empty] | 2917.1126 | 63.8 | 63.2 | -60
[8 empty] | 2946.2837 | 64.2 | 63.8 | -60
[8 empty] | 2975.7466 | 63.7 | 63.3 | -60
[8 empty] | 3005.504 | 63.2 | 65 | 50.4447 | 50.4447
[8 empty] | 3035.5591 | 63.2 | 63 | -60
[8 empty] | 3065.9147 | 63.2 | 63.7 | 38.6543
[8 empty] | 3096.5738 | 63.2 | 63.7 | 38.6543
[8 empty] | 3127.5396 | 63.5 | 64.1 | 40.5885
[8 empty] | 3158.815 | 64.3 | 63.3 | -60
[8 empty] | 3190.4031 | 63.5 | 63.7 | 30.8445
[8 empty] | 3222.3071 | 63.3 | 62.8 | -60
[8 empty] | 3254.5302 | 64.1 | 63.6 | -60
[8 empty] | 3287.0755 | 63.3 | 63.6 | 34.2166
[8 empty] | 3319.9463 | 63.2 | 63.7 | 38.6543
[8 empty] | 3353.1457 | 64.9 | 64.5 | -60
[8 empty] | 3386.6772 | 66.2 | 65.9 | -60
[8 empty] | 3420.544 | 65.4 | 64.9 | -60
[8 empty] | 3454.7494 | 65.1 | 65.9 | 44.7886
[8 empty] | 3489.2969 | 65.6 | 66.2 | 42.6885
[8 empty] | 3524.1899 | 66.6 | 66.6 | -60
[8 empty] | 3559.4318 | 66.2 | 65.9 | -60
[8 empty] | 3595.0261 | 66.7 | 66 | -60
[8 empty] | 3630.9763 | 66.7 | 66.5 | -60
[8 empty] | 3667.2861 | 67 | 67.3 | 37.9166
[8 empty] | 3703.959 | 66.9 | 67 | 28.1738
[8 empty] | 3740.9985 | 66 | 66.3 | 36.9166
[8 empty] | 3778.4085 | 67.2 | 66.3 | -60
[8 empty] | 3816.1926 | 67.5 | 67.2 | -60
[8 empty] | 3854.3545 | 65.8 | 66.1 | 36.7166
[8 empty] | 3892.8981 | 65.9 | 65.7 | -60
[8 empty] | 3931.8271 | 67.7 | 67.6 | -60
[8 empty] | 3971.1453 | 67.1 | 66.8 | -60
[8 empty] | 4010.8568 | 65 | 65.1 | 26.2738
[8 empty] | 4050.9654 | 66.1 | 66.9 | 45.7886
[8 empty] | 4091.475 | 66.6 | 66.3 | -60
[8 empty] | 4132.3898 | 66 | 65.7 | -60
[8 empty] | 4173.7137 | 66.3 | 67.1 | 45.9886
[8 empty] | 4215.4508 | 67.5 | 67.3 | -60
[8 empty] | 4257.6053 | 68.2 | 67.5 | -60
[8 empty] | 4300.1814 | 68.4 | 69.3 | 49.1624 | 49.1624
[8 empty] | 4343.1832 | 68.7 | 69.4 | 47.178
[8 empty] | 4386.615 | 69.4 | 69 | -60
[8 empty] | 4430.4812 | 69.6 | 70.6 | 51.3285 | 51.3285
[8 empty] | 4474.786 | 70.8 | 69.6 | -60
[8 empty] | 4519.5338 | 69.2 | 70 | 48.8886
[8 empty] | 4564.7292 | 69.4 | 70 | 46.4885
[8 empty] | 4610.3765 | 69.6 | 70.1 | 45.0543
[8 empty] | 4656.4802 | 70.5 | 69.8 | -60
[8 empty] | 4703.045 | 69.3 | 70.1 | 48.9886
[8 empty] | 4750.0755 | 70.2 | 69.3 | -60
[8 empty] | 4797.5762 | 69.4 | 69.6 | 36.7445
[8 empty] | 4845.552 | 70.9 | 69.5 | -60
[8 empty] | 4894.0075 | 70.4 | 70.3 | -60
[8 empty] | 4942.9476 | 71.3 | 71 | -60
[8 empty] | 4992.3771 | 71.6 | 71.9 | 42.5166
[8 empty] | 5042.3008 | 70.5 | 69.6 | -60
[8 empty] | 5092.7238 | 69.4 | 70.2 | 49.0886
[8 empty] | 5143.6511 | 70 | 70.3 | 40.9166
[8 empty] | 5195.0876 | 69.7 | 70.4 | 48.178
[8 empty] | 5247.0385 | 72.1 | 71.6 | -60
[8 empty] | 5299.5088 | 70.5 | 72.5 | 58.7635 | 58.7635
[8 empty] | 5352.5039 | 70.6 | 70.7 | 31.8738
[8 empty] | 5406.029 | 71.5 | 71.3 | -60
[8 empty] | 5460.0893 | 71.3 | 71 | -60
[8 empty] | 5514.6902 | 71.4 | 71.1 | -60
[8 empty] | 5569.8371 | 70.9 | 71.6 | 49.378
[8 empty] | 5625.5354 | 71 | 71.7 | 49.478
[8 empty] | 5681.7908 | 72.1 | 71.5 | -60
[8 empty] | 5738.6087 | 72 | 72.5 | 47.4543
[8 empty] | 5795.9948 | 72.8 | 72.4 | -60
[8 empty] | 5853.9547 | 72.3 | 72.4 | 33.5738
[8 empty] | 5912.4943 | 72.5 | 72.4 | -60
[8 empty] | 5971.6192 | 72.8 | 73.1 | 43.7166
[8 empty] | 6031.3354 | 72.9 | 73.8 | 53.6624 | 53.6624
[8 empty] | 6091.6488 | 73.2 | 72.9 | -60
[8 empty] | 6152.5653 | 73.3 | 73.3 | -60
[8 empty] | 6214.0909 | 73.1 | 72.5 | -60
[8 empty] | 6276.2318 | 74.2 | 73.6 | -60
[8 empty] | 6338.9941 | 73.8 | 73.7 | -60
[8 empty] | 6402.3841 | 74.1 | 74.3 | 41.4445
[8 empty] | 6466.4079 | 73.5 | 73.3 | -60
[8 empty] | 6531.072 | 73.4 | 73.4 | -60
[8 empty] | 6596.3827 | 74.4 | 74.3 | -60
[8 empty] | 6662.3465 | 74.1 | 74 | -60
[8 empty] | 6728.97 | 75 | 75 | -60
[8 empty] | 6796.2597 | 75.3 | 75.4 | 36.5738
[8 empty] | 6864.2223 | 74 | 73.7 | -60
[8 empty] | 6932.8645 | 74.5 | 74.7 | 41.8445
[8 empty] | 7002.1932 | 75.3 | 75.4 | 36.5738
[8 empty] | 7072.2151 | 76.9 | 76.3 | -60
[8 empty] | 7142.9373 | 76.2 | 76.4 | 43.5445
[8 empty] | 7214.3666 | 77.2 | 77.1 | -60
[8 empty] | 7286.5103 | 77.5 | 78.6 | 60.1074 | 60.1074
[8 empty] | 7359.3754 | 78.1 | 78.2 | 39.3738
[8 empty] | 7432.9691 | 79.3 | 78.7 | -60
[8 empty] | 7507.2988 | 78.2 | 77.9 | -60
[8 empty] | 7582.3718 | 78.9 | 79.1 | 46.2445
[8 empty] | 7658.1955 | 79.8 | 79.1 | -60
[8 empty] | 7734.7775 | 78.9 | 78.7 | -60
[8 empty] | 7812.1253 | 78.8 | 79.3 | 54.2543
[8 empty] | 7890.2465 | 79 | 80.3 | 63.1607 | 63.1607
[8 empty] | 7969.149 | 81 | 80.6 | -60
[8 empty] | 8000 | 79.9 | 81.6 | 66.5966 | 66.5966